## Slide 1: Reinforcement Learning-Based Energy Management of Smart Home with Rooftop Solar Photovoltaic System, Energy Storage System, and Home Appliances
HaeJoong Lee
Sogang University, EE
2020.02.??

## Slide 2
Key words
- home energy management system (HEMS)
- reinforcement learning
- artificial neural network
- smart home
- consumer comfort
- smart grid

## Slide 3: Introduction
Compared to the existing model-based HEMS optimization approaches, we propose a HEMS algorithm using a model-free reinforcement learning (RL).
the Q-learning method is applied to the energy consumption scheduling of different home appliances (air conditioner, washing machine, and ESS), whereby the agent of each appliance determines the optimal policy independently to reduce its own electric cost within the consumer comfort level and the appliance operation characteristics.
an ANN model to learn the relationship between the indoor temperature and energy consumption of the air conditioner more accurately, which is integrated into the Q-learning module to achieve improved performance of the air conditioner agent.
Simulation showed two results.
1. Using reinforcement learning and
ANN prediction techniques, power
consumption and user
dissatisfaction were reduced.
2. It can save more energy than the
existing mixed-integer linear
programming algorithm.

## Slide 4: Related Research
the scheduling of different types of home appliances along with electric vehicles using linear programming (LP)
load scheduling considering the consumer comfort level using mixed integer nonlinear programming (MINLP)
convex programming based on relaxed MINLP using an L1 regularization technique
load scheduling for a single consumer or multiple consumers using MILP
LP-based joint optimization of energy supplies and electric loads through three-stage scheduling (prediction, supply control, and demand control)
the natural aggregation algorithm (NAA)-based HEMS method consisting of forecasting, day-ahead scheduling, and actual operation
robust optimization for the scheduling of home appliances to resolve the uncertainty of consumer behavior the outdoor temperature and consumer comfort levels and distributed HEMS architectures consisting of a local and global HEMS.
using real-time pricing, a HEMS optimization method that considers the operational dependency of various types of home appliances and consumer life style requirements was proposed in
model-based HEMS optimization
model-free reinforcement learning (RL)

## Slide 5: System Model for HEMS
Preliminary
: A controllable appliance is an appliance of which the operation is scheduled and controlled by the HEMS.
: a reducible appliances (e.g. air conditioner)
: a shiftable appliances
: a non-interruptible load (e.g. : washing machine)
: an interruptible load (e.g. : ESS)
: An uncontrollable appliance cannot be scheduled and operated by the HEMS. (e.g. : TV, PC or lighting)
Therefore, maintains the ﬁxed energy consumption scheduling.

## Slide 6: System Model for HEMS
Conventional HEMS Optimization Formulation
Total electricity cost
Total penalty
(consumer discomfort cost)
: the indoor temperature
: the preferred consumer temperature
Penalty for consumer thermal
discomfort cost.
the TOU price
net energy consumption
:
Object Function

## Slide 7: System Model for HEMS
Conventional HEMS Optimization Formulation
Constraint 1 (Net Power Consumption)
: a reducible appliances (e.g. air conditioner)
: a shiftable appliances
: a non-interruptible load (e.g. : washing machine)
: an interruptible load (e.g. : ESS)
the predicted PV generation output
: Net energy consumption at time slot t
: Charging energy of ESS a at time slot t
: Discharging energy of ESS a at time slot t
: An uncontrollable appliance cannot be scheduled and operated by the HEMS. (e.g. : TV, PC or lighting)

## Slide 8: System Model for HEMS
Conventional HEMS Optimization Formulation
Constraint 2 (Operating Characteristics for Controllable Appliances)
: in-door temperature at time t
: in-door temperature at time t-1
: the predicted outdoor temperature at time t-1
: the energy consumption of the reducible appliances
: the environmental parameters
e.g. air conditioner
Capacity range
Constraint for the temperature dynamics of the reducible appliance
Consumer preferred indoor temperatures range

## Slide 9: System Model for HEMS
Conventional HEMS Optimization Formulation
Constraint 3 (the desired operation of shiftable appliances with a non-interruptible load)
: the binary decision variable , “1” for consumption, “0” otherwise
: the operation period of hours during a day
e.g. washing machine
: Maximum consumption of appliance

## Slide 10: System Model for HEMS
Conventional HEMS Optimization Formulation
Constraint 4 (the operational dynamics of the state of energy (SOE) for the ESS)
: the charging and discharging efficiency
: the SOE capacity constraint with and
e.g. ESS
: the charging and discharging energy
: the binary decision variable that determines the ESS on/off status
: Maximum (Minimum) discharging energy of ESS
“1” for charging, “0” otherwise

## Slide 11: System Model for HEMS
Conventional HEMS Optimization Formulation
MINLP -> MILP by means of the linearization of the nonlinear o.f.

## Slide 12: Formulation of RL- and ANN-Based Home Energy Management
Home Energy Management via Q-Learning
Bellman equation
: State at time slot
: Action at time slot
: Reward at time slot
Function that tells how good an action is
in which
.
discount rate
learning rate
update
Actual value
Present value
Future value
.

## Slide 13: Formulation of RL- and ANN-Based Home Energy Management
Home Energy Management via Q-Learning
State Space
Reward
set
Action
,
Q1 : 각각 구현하는데, reward 합치는 이유?

## Slide 14: Formulation of RL- and ANN-Based Home Energy Management
Home Energy Management via Q-Learning
Given the state and action sets below
State Space
Action
Q-value tables
WM matrices : 24 x 2
AC matrices : 24 x 10
ESS matrices : 24 x 9
Q2 : 을 or “time(0 ~ 23)” 로 출력?
: 에너지 소비량
Q-Table
?

## Slide 15: Formulation of RL- and ANN-Based Home Energy Management
Home Energy Management via Q-Learning
the electric cost and consumer undesired operation of the WM
, : the consumer preferred starting and finishing times of the WM
: the penalties for early and late operation, respectively,
compared to the consumer preferred operation interval
on before
off after
the reward function for the WM agent is expressed as
(i)

## Slide 16: Formulation of RL- and ANN-Based Home Energy Management
start
end
Home Energy Management via Q-Learning
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
start
end
Washing Machine Scheduling
start
end
Case I
Case II
Case III
Q3 : 경우의 reward ?

## Slide 17: Formulation of RL- and ANN-Based Home Energy Management
Home Energy Management via Q-Learning
the electric cost and consumer thermal discomfort of the AC
: in-door temperature
: the penalty for the consumer thermal discomfort
the reward function for the AC agent is expressed as
(ii)
, : the consumer preferred temperature
Prediction Value by ANN

## Slide 18: Formulation of RL- and ANN-Based Home Energy Management
Home Energy Management via Q-Learning
the reward function for the ESS agent consists of a negative electric cost and negative energy underutilization cost
(iii)
: the penalties for the ESS overcharging and undercharging
, : Maximum (Minimum) state of energy of ESS
overcharging
undercharging

## Slide 19: Formulation of RL- and ANN-Based Home Energy Management
Prediction of Indoor Temperature via ANN
- ANN model (Carpediem 학습 NN)
- 앞의 식 사용 (경우에 따라)
Optimizer : adam
Learning rate : 0.005
Activation function : ReLU
- calculate the dissatisfaction cost more precisely
- determine the optimal energy consumption
schedule more efficiently
Two advantages

## Slide 20: Formulation of RL- and ANN-Based Home Energy Management
Prediction of Indoor Temperature via ANN

## Slide 21: Formulation of RL- and ANN-Based Home Energy Management
Prediction of Indoor Temperature via ANN

## Slide 22: Numerical Examples
Simulation Setup

## Slide 23: Numerical Examples
Performance of the Proposed RL-Based HEMS Algorithm

## Slide 24: Numerical Examples
Impact of Different Parameters in Reward Function on the Proposed Algorithm

## Slide 25: Numerical Examples
Impact of Different Parameters in Reward Function on the Proposed Algorithm

## Slide 26: Numerical Examples
Impact of ANN on AC Agent Performance

## Slide 27: Numerical Examples
Performance Comparison between MILP- and RL-Based HEMS

## Slide 28: Numerical Examples
Performance Comparison between MILP- and RL-Based HEMS

## Slide 29: Numerical Examples
Performance Comparison between MILP- and RL-Based HEMS

## Slide 30: Discussion
Wholesale and Retail Electricity Markets under Real-Time Pricing (RTP)
Electric Vehicle (EV) Integration
Constraint of the Lifetime for ESS

## Slide 31: Conclusions / Future work
a multi-agent reinforcement learning algorithm that schedules the energy consumption of multiple smart homes with distributed energy resources and smart home appliances.
large-scale realistic electric power networks
use RNN and LSTM Model

## Slide 32: Code implementation and experiment comparison
…